| Project Data |
| --- |
| Project name: |
| Location in South Carolina: | Address (street # & street name): | State project: ( Yes ( No |
|  | City: | County: | State project #: |
| Water Supply Information (flow test data must be less than 1 year old per §40-10-250(A)(1)) |
| Date test conducted: / / | Static pressure (psi): | Residual pressure (psi): | Flow (gpm): |
| Distances of test gauges relative to the base of the riser: | Horizontal (ft): | Vertical (elevation difference in ft): |
| Source of water supply: | ( Municipal dead-end ( Municipal circulation ( Other: | Pipe Size (in.): |
| Test data by/from: | Name: | Title: |
|  | Organization: | Telephone #: |
| Fire pump: | ( Yes ( No | Pump Capacity (gpm): | Churn Pressure (psi): |
|  | ( New ( Existing | Rated Pressure (psi): | Pressure @ 150% flow (psi): |
| On-site storage tank: | ( Yes ( No | ( New ( Existing | Tank capacity (gallons): |
| NFPA Hazard Classification (attach continuation page when necessary) |
| Area # | Class or Code Reference | Description of Hazard Protected (commodity description, storage height, and arrangement as applicable.) |
| Design Parameters (attach continuation page when necessary) |
| Area # | System Type | Density (gpm/ft2) / Area (ft2) or Other (reference code section) | Inside Hose (gpm) | Outside Hose (gpm) |
| Seismic Design Data: SS= |
| Codes and Standards (attach continuation page when necessary) |
| Applicable Codes, Standards & Editions (i.e. "2006 IBC", "2007 NFPA 13", etc.) for the Scope of Work on the Sprinkler System |
| Scope of work (such as sprinkler system A.G. from 1'-0" A.F.F., U.G. from tap to 5'-0" outside, etc.) and notes (attach continuation page when necessary): |
| Specifier's Information |
| Name: |  |  |
| Engineering services provided through a firm: ( Yes ( No |  |  |
| Firm name: |  |  |
| Address: |  |  |
| City: |  |  |
| State: | Zip: |  |  |
| Phone #: | Fax #: |  |  |
| E-mail: | Certificate of Authorization | Professional Engineer’s Seal |